University of California, Los Angeles

Pursuant California Fire Code, Section 901.4.3, fire protection equipment shall be clearly identified in an approved manner. This campus standard shall apply to all new construction projects and shall be approved by the UCLA Fire Department.

The information required on the sign shall include the following information in the following order:

- Building Number (Fire Department response number)

- Building Name

- Building Address

- Type of System

- System Working Pressure

Additional requirements shall include the following:

- Sign shall be sized to accommodate the minimum text height as indicated in Figure 1.

- Coloring of background shall be contrasting to text.

- Material of sign shall be metal.

- Sign shall be installed in a location approved by the UCLA Fire Department.

- Sign shall be mounted securely using bolts or other approved fasteners.

- Sign shall be CEY Brown (NOT RED).

Figure 1