Representative Contact – PLPSoCal

Crissy Cosci – 626-482-8420

ccosci@plpsocal.com

LED CONVERSION KIT FOR B750 AVENUE SERIES ACORN

SYMMETRIC DISTRIBITION – LIGHT SOURCE DISTRIBUTES LIGHT EVENLY IN ALL DIRECTIONS

VCOB-B750-4L-40-TS-MDL03-682/682M

ASYMMETRIC – LIGHT SOURCE DISTRIBUTES LIGHT TO ONE SIDE

VCOB-B750-4L-40-TA-MDL03-682/682M

682/682M NEEDS TO BE DETERMINED BASED ON EXISTING FITTER SEE RETROFIT FITTER DETAILS.

NOTE IF FIXTURES THAT WERE GUTTED AND CONVERTED TO INDUCTION LAMPS WOULD HAVE TO BE EVALUATED TO MAKE SURE THEY WOULD STILL WORK WITH THIS CONVERSION KIT.